   HOW TO FILL THE WATER CONTAINERS

1. HOLD DOWN MENU BUTTON UNTIL DISPLAY READS PRESET VOLUME

2. INCREASE OR DECREASE THE VOLUME AMOUNT USING BUTTON WITH ARROWS

3. OPEN VALVE ON HANDLE

4. HOLD DOWN OPERATE/STANDBY BUTTON UNTIL THE WATER STARTS

5. THE WATER WILL SHUT OFF AT THE PRESET VOLUME

6. SHUT VALVE ON HANDLE AFTER COMPLETED

7. ANY QUESTIONS, SEE TAMMY

